## Slide 1: Rainfall sensor Update
Keith Matthews

## Slide 2: Design
Funnel
  Gathers water drops into central area
Nozzle
  Reforms individual drops
Electrodes
  Measure Water drops passing through
Funnel
Nozzle
Electrodes

## Slide 3: Design Condition
Max: Worlds greatest 1 hour rainfall
  12” in 1 hour
  For our system needs to process 1ml of water every 7.75 seconds
Designed to handle the max rainfall event

## Slide 4: Thoughts, Question, or Advise?