## Slide 1: Water probe and Rainfall sensor Update
Keith Matthews

## Slide 2: Measuring Nitrates
Chemical Test: Ring Test (iron(II) sulfate and sulfuric acid)
In Situ with UV absorption?
  Servo: to move the diffuser
  Monochromator
  Source (Sun?)
  Detector (photosensor)
Measurement range
Detect other materials in the water?
Angle determines the wavelength
Monochromator

## Slide 3: Nitrates
Determination of Nitrate in Water Containing Dissolved Organic Carbon by Ultraviolet Spectroscopy
200-205 nm & 300 nm
2 wavelengths avoid organic intereference

## Slide 4: Dissolved oxygen
Rapid and precise determination of dissolved oxygen by spectrophotometry: Evaluation of interference from color and turbidity
430nm
Low organic interference

## Slide 5: Uv absorption
Sample return
  Easiest
Fixed wavelengths
  Nitrates only
Spectrum
  Moving parts
  accuracy
  Slit size precision

## Slide 6: Battery
Samsung cylinder batteries?
  Stackable
  Flexible design
  One charger for all
LiPo
Charging?
Replacing